- Q-Switch Portable Pico Second Skin care system

- Model: Portable

Application

Body tattoo, eyebrow tattoo and lips line

Pigment of epidermis and derma layer

Nevus of Ota and birth mark

Freckles, Black spot, Age spots, Coffee spots and sun-burn spots.

Skin rejuvenation, skin whitening and resurfacing

Acne scar removal and blood vascular clearance

Work Theory

Pico second laser is the latest new generation technology for aesthetic use. Through trillions of a second and powerful laser energy to grind the pigment in the skin tissue to reach the result of completely tattoo removal and pigment in all type of skin color.

Through specialized fractional lens, Pico second laser can convert laser energy into gentle pressure to create new collagen by squeezing cells and activating the natural cell without burning or damaging the skin.

| Light source | Picosecond Laser |
| --- | --- |
| Wavelength | 1064nm; 532nm |
| Output Energy | 100-800mj |
| Laser Output Mode | Flat Top |
| Pulse duration | 2000PS |
| Repetition Rate | 1-20hz adjustable |
| Spot Size | 1-5mm adjustable |
| Light guide beam | 650nm red laser |
| Cooling System | Closed Cycle Water to Air Heat Exchanger |
| Laser Power | 2000W |
| Controlling system | 10.4inch TFT color touch screen |
| Note | Technical data changed will not inform specially |

Treatment Advantage

- Painless, shorter recovery time, no blood

- Laser Device place on handle, avoid energy loss

- 1—20 Hz frequency adjustable

- Active Q- -Switch Picosecond laser technology