- SQ-3 Q-Switch Pico Second Skin care system

- Model: SP-1

Application

Dermal pigmentation:

* Birth marks: Ota nevus, Ito nevus, black nevus, etc. Pigmentation: sun-burn spots, age spots, speckles, freckles, senior flecks, etc.

* Man made pigmentation: Blue, black, red, or brown tattoos; lip line or eyebrow line pigmentation Epidermal pigmentation: such as freckle, senior

flecks, coffee spot ....

* Vascular lentigines: vascular lesions, spider vessels,spider veins

Skin rejuvenation via laser peeling

Work Theory

• Utilizes the explosive effect of the Nd: YAG laser, which permeates through the epidermis into the dermis containing the pigment mass. The laser pulses in nanosecond, super high energy. This causes the pigment mass to swell quickly and break into small pieces, which are then eliminated through body’s metabolic system.

Capillary vessel dilation therapy

• Utilizing Nd: Yag Laser heat, the laser is absorbed by the capillary vessel hemachrome, causing the capillary vessel to become blocked and then disappear.

| Light source | Q-Switch ND: YAG solid-state laser |
| --- | --- |
| Wavelength | 1064nm; 532nm |
| Output Energy | 1064nm: 100-2500mj; 532nm:100-1200mj |
| Power | 2000W |
| Energy density(max) | 1064nm: 15.0; 532nm:6 |
| Pulse duration | 8±2ns |
| Repetition Rate | 1-10hz adjustable |
| Spot Size | 2-10mm adjustable |
| Light guide beam | -650nm red laser |
| Cooling System | Closed Cycle Water to Air Heat Exchanger |
| Laser delivery | 7 jointed articulated arm imported from Korea |
| Controlling system | 10.4inch TFT color touch screen |
| Power requirement | 680mm×400mm×820mm |
| Note | Technical data changed will not inform specially |

Treatment Advantage

1.7-jointed arm imported from Korea delivery system, making long-duration treatment easy.

2.Red diode laser beam point for exacting treatment area location.

3.Motor driven auto-switching with 1064/ 532nm wavelength change.

4.Spot size adjustment through a focus adjustment lens.

5.High-power built in water cooling system for continuous use.

6.Operation and parameter adjustments on a 10.4 inch color TFT touch screen

7.High power can up to 2500mj